# MCH Jobsite Cleanliness & Presentation Standards

### Standard of Care

As a premier custom home builder, we maintain elevated jobsite cleanliness and organization standards throughout construction. Our objective is to operate a disciplined, well-managed site that reflects the quality of the finished home.

While construction environments cannot be dust-free, our sites are managed to reflect professionalism, order, and control at all times.

### Clean Site Commitment

We maintain the following standards:

- Clearly designated material staging zones

- MCH supplied trash can on site

- Clear signage posted outside

- Silt fence installed and maintained around property  
- Daily material consolidation
- Dumpsters/trailers emptied as needed to prevent overflow
- Organized storage of tools and equipment
- Defined access pathways kept clear
- Daily debris and trash removal 
- Protection of installed finishes immediately upon completion

- MCH signage is clean and straight

-a Jobsite permit/contact board is clean and straight

Subcontractors are required to leave the site broom-clean at the end of the day.

### Daily Jobsite Expectations

At the end of each workday:

- Major debris will be placed in designated containers
- Loose trash will be thrown away

- Check neighboring properties daily for trash

- Sweep off street in front of house and neighboring properties 
- Materials will be stacked neatly and safely
- Tools will be consolidated and secured
- Temporary coverings will be re-secured
- Access points will be clear and safe. They will also be secured every day

-a Dumpsters and portable toilets actively maintained to prevent overflow

A luxury build requires discipline, and our trades are held to that standard.

### Zero-Tolerance Policies

The following are not acceptable on our jobsites:

- Trash accumulation beyond designated areas
- Food or drinks in home 
- Unsecured materials
- Damage to installed finishes due to negligence
- Subcontractors leaving without cleaning up 

Trades who do not meet cleanliness standards may be removed from the project and/or required to pay for clean up.

### Client Site Visit Presentation

When clients visit the site, they can expect:

- An organized site
- No trash in home

- Exterior material stacked neatly 
- Interior finishes protected 
- Clear walkways into home and throughout

- Interior safety rails up stairs (Or permanent)

- Elevators blocked off and safety nets installed

- Exterior safety rails in place (Or permanent)

- Broom swept home

### Exterior Site Management

Exterior cleanliness standards include:

- Debris not allowed to migrate into neighboring lots
- Scheduled scrap removal
- Organized lumber and material stacking
- Construction silt fencing around entire lot

- Construction driveway installed and maintained 
- Driveway and street areas cleared of excessive debris

- Street swept or blown off daily 
- Nail and fastener magnet sweeps at major phases

- Exterior safety rail installed immediately after deck fascia

- Jobsite sign posted with No Trespassing sign, No Smoking sign, Permit, PM Contact Info, and House Address

- Marnie Custom Home sign posted at street on opposite side as porta pot

- Fork lift parked on our property every day 

We operate with consideration for both client property and neighboring homes.

### Dust Management Standards

While dust is inherent in construction, we implement:

- Controlled cutting areas when feasible – Not in screen porches
- Shop vac usage during interior cutting
- Temporary plastic barriers during heavy sanding phases

- HVAC to be turned off when sanding/cutting/spraying paint 
- Scheduled interior sweeps
- Professional cleaning a minimum of two times prior to move in

- Project manager to have shop vac on site and use daily 

Clients should expect managed dust — not uncontrolled accumulation.

### Interior Protection Protocol

As the home progresses, protective measures increase:

- Ram board floor protection installed after flooring

- Ram board tread protection installed after finished stair treads 
- Cabinet protection upon installation
- Countertop covering until turnover
- Temporary door locks installed to secure home
- Door edge and jamb protection where necessary
- HVAC filters monitored and replaced as needed

- Post signage for no shoes in house and supply booties

- House will be swept or vacuumed daily

- Tubs to be protected with foam board from after install until final clean

- Doors and windows will be shut and locked everyday by MCH personal

- Post drywall PM will designate one room for work room and store electrical fixtures, plumbing fixtures, hardware, etc. This room will have a door and a lock

- Build trim rack in garage to store trim after 1st trim. After 2nd trim anything left will be returned

- Floor coverings will be removed after final paint and no shoes will be allowed in house 

No finished surface is left unprotected during active construction.

### Scheduled Professional Cleanings

- 1st clean after countertops – pull window plastic, clean all cabinets, vacuum, mop, and wipe down bathrooms
- Clean after floor coverings are pulled

- Power Wash exterior including all decks and garages 
- Final deep clean prior to homeowner orientation

### Final Turnover Standard

Prior to homeowner orientation, the home will receive:

- Full professional interior cleaning
- Removal of protective coverings
- Debris removal from site

- Removal of portable toilet and dumpster