Architectural Phase Specs

NOTES

Review Green room, Broadwater, 

Weekly status update submitted electronically to MCH to include : current status of all active projects, projected status of all active projects

· Floor plans to include 
· Directional dimensions for all rooms, halls, closets, storage areas, etc
· Room SF (chart?)
· Floor conditioned AND unconditioned SF decking SF
· LAR and FAR calculations chart
· Showers and vanities Dimensions
· Elevation drawings to show Base Flood, Design Flood, Max Ridge Height, and road relevant elevation (if necessary)
· Cross sections with Floor to floor dimension labeled
· Lot Survey 
· Largest possible bed graphically represented in each bedroom on the appropriate wall 
· Foundation dimensions (including offsets)
· Flood vents labeled as “SMART VENT (PRODUCT / MANUFACTURER SERIAL #)
· X-Ray view of top level & kitchen  
· All beams dropped below ceiling elevation are to be highlighted in RED and dimensioned 
· Cross section of all interior and exterior stair systems with rise and run noted 
· Structure notes if applicable
· Assume 42” Astria Georgian wood burning fireplace with code compliant venting OR 48” Mendota linear for gas fireplace per client preference
· Unless noted otherwise, top of windows to align with top of doors:
· 8’-0” ceiling = 7’-0” door 
· 8’-6” ceiling = 7’-6” door
· 9’-0”+ ceiling = 8’-0” door
· Top Floor and / or feature windows and doors to be maximized to the degree possible with MCH direction 
· 1.25” Gypcrete included on all levels above ground level per client direction 
· “Ground Level”, “First level”, “second level”, “third level” 
· Consistent labels for rooms “Bedroom #1”, “Bathroom #1”, “Primary Bedroom”, “Primary Bathroom”
· Curves and sweeps to include radius and dimensions
· Include labeled mechanical room and/or storage room on each level
· Incorporate wish list 
· Final product to include: Permit ready plans to include sealed electronic copy + 3 sealed hard sets with structural included, res check , county plan review waivers signed and sealed, and DWG files. 
· Wish list questions:
· Soffit and fascia detail 
· Hurricane Shutters?
· Recessed showers?
· [bookmark: _GoBack]Recessed screens / Recessed window treatments?
· Mechanical equipment: HVAC / Generator / pool equipment / solar
· Exterior rails 
· Gypcrete 
· Flooring
· Siding 
· Pool / hot tub
· 
· Due diligence to include 
· confirmation of jurisdictional requirements including HOA if applicable 
· Civil – lot boundaries, applicable building restriction lines, flood zone(s), DNREC 4 step process, 
· Small Lot
· Wetlands
· Corner lot conditions
· Topography
· Dune Elevation 
· Collaboration with the structural engineer 
· Collaboration with the MCH design team
