MCH Architectural Phase Specifications

A. Purpose of this Document

This document defines both MCH's and contractor's responsibilities as they relate to the Architectural phase of construction. It is intended as a checklist that will define MCH's standard of quality and professionalism. The foundation contractor's work will not be considered complete until all specifications contained herein are fully met.

B. Relationship to other Documents

Additional information and/or requirements regarding concrete foundations may be defined in:

1. Architectural & Structural Plans

2. Proposed Site / Grading Plan showing all house options

3. Proposed Elevation Certificate

4. Elevator Specifications and Cut Sheet

5. MCH Finished Concrete Phase Specification

6. MCH Master Subcontractor Agreement

C. Safety Requirements, General

1. Each contractor is required to have a competent person that is able to verbally communicate with MCH Project Manager on site at all times. A competent person is one that can identify safety hazards and has the authority to stop work until known hazards have been eliminated before proceeding.

2. Contractor's employees and contractors must adhere to all Federal and State Occupational Safety & Health (OSHA) Regulations.

3. All accidents and injuries must be immediately reported to the MCH Director of Construction.

4. Any and all penalties assessed against MCH due to safety violations of Contractor shall be the liability of the Contractor and subject to reimbursement and possible additional fines from MCH. MCH may issue verbal and/or written warnings, with fines, for safety violations that MCH employees identify on its job sites on which Contractor provides Work, Materials and/or Supplies. In addition, Contractor shall comply with all MCH procedures and policies relative to safety violation enforcement and fines, a copy of which procedures and policies Contractor acknowledges receipt.

5. If a safety device must be removed, the contractor must take remedial measures to protect all workers from the hazard. The devices must be immediately replaced as soon as the work is completed or a permanent safety device has replaced it.

D. Safety Requirements, Specific

1. Personal Protective Equipment (PPE) must be worn as applicable and required at all times while on MCH job sites.

A. Safety glasses/goggles are to be worn when drilling, cutting, hammering, soldering or gluing.

B. Proper work boots are to be worn at all times

C. Hearing protection is to be worn when cutting or drilling.

D. Gloves are to be worn when working with sharp objects

E. Respirator is to be worn when working with solvents or soldering.

2. Rebar Protection: rebar must be guarded to eliminate the hazard of impalement. OSHA permits the steel to be bent over (like a candy cane), provided that no sharp edges are exposed, or protected with OSHA approved rebar safety caps.

E. Warranty in Labor and Materials:

The contractor shall guarantee the foundations to be free of any structural defects and leaks due to cold joints, structural cracks, or snap ties for one year minimum. If any part of the work is found to be incomplete, incorrect, deficient, or cause damage to other work, the contractor will be responsible for all material and labor costs and damage incurred.

F. Specifications, General:

The foundation contractor must supply all labor, tools, and equipment to place concrete for all grade beams and/or foundation walls and steel. This construction must be done in conformance with all specifications contained herein. Contractor to provide concrete pump when conditions dictate. It is the responsibility of the contractor to proactively protect their work, the project property, and adjacent properties.

G. Specifications, Detailed:

Grade Beams

- Confirm you are working with and referencing the most current and complete set of plans.

- MCH will provide an elevation benchmark prior to starting foundation work. Contractor to confirm elevation of top of grade beam, top of wall, top of pier(s), flood vents, garage slab, and design flood elevation with MCH Project Manager and reference / confirm with the elevation stake on site.

- All grade beams must be below the required frost line and placed on undisturbed ground below any topsoil.

- Contractor must reference and comply with concrete specifications and details on the structural plan typically found on pages labeled:

  - TYPICAL DETAILS & SECTIONS

  - FOUNDATION SECTIONS

  - SCHEDULES & GENERAL NOTES

- All steel column piers must be sized per plan, and must be formed in place at the specified dimensions. "Patties” are not permitted

- Contractor must supply all forms and strip and remove the forms within 24 hours. Cold weather conditions may require additional curing time.

- The maximum accepted deviations for grade beams are ¼" out of level and ½" out of square. Unless noted otherwise, all steel column pads must be poured flush with top of footing.

- Step footing design and installation must be approved by MCH Director of Construction.

- Consideration should be given at this time to including footings for exterior deck and stair platforms as well as mechanical platforms.

- Contractor shall install sleeve(s) in footing for sewer, water, geothermal wells, etc. as determined by the MCH Project Manager.

- Contractor shall block out the grade beam at the location designated for electrical conduit.

- Contractor must acquire all necessary inspections prior to pouring grade beams. This may include municipality inspections and /or third-party private inspections. It is the contractor’s responsibility to confirm the inspection has been successfully completed prior to confirming concrete delivery.

- Forms must be reinforced to maintain specified dimensions when concrete is poured. Contractor must remove all forming material from the job.

- Once the pouring of concrete begins, it must continue until the entire pour is completed.

- Contractor must pour concrete so that the concrete does not segregate during placement.

- Discharge of concrete from chute to placement must not exceed 40" at any time.

- At the completion of the pour, the contractor will direct concrete truck(s) to designated washout area on jobsite. At no time will concrete truck washout in any other location.

Concrete Walls

- Confirm you are working with and referencing the most current and complete set of plans.

- MCH will provide an elevation benchmark prior to starting foundation work. Contractor to confirm elevation of top of grade beam, top of wall, top of pier(s), flood vents, garage slab, and design flood elevation with MCH Project Manager and reference / confirm with the elevation stake on site.

- Contractor must set forms in strict accordance with MCH blueprints. It is the Contractor's responsibility to review prints with Project Manager. Forms are not to be set prior to Civil Engineer pinning corners. Confirm if MCH intends to recess the foundation wall at this point.

- Contractor must allow ample time to set forms, check dimensions and square with Project Manager prior to delivery of concrete.

- Grade Beams and keyways (if applicable) will be broom cleaned before setting walls.

- Use of chemical admixtures to retard or accelerate setting time must meet the requirements of ASTC C-494 and be approved by the MCH Director of Construction. Maintain concrete temperature between 40 degrees and 90 degrees for 3 days.

- DO NOT ADD WATER ON JOB SITE TO MAKE CONCRETE WORKABLE.

- Contractor must reference and comply with concrete specifications and details on the structural plan typically found on pages labeled:

  - TYPICAL DETAILS & SECTIONS

  - FOUNDATION SECTIONS

  - SCHEDULES & GENERAL NOTES

- Contractor to provide hold down components as needed.

- Contractor must furnish and install all steel in foundation walls.

- Steel beam pockets must be sized per print and in the proper location. Beam pockets > 1" too deep shall be repaired at contractor's expense.

- Raised beam pilasters must be reinforced per Structural Plan detail if not poured monolithically.

- Hold down components must have proper embedment depth starting at bottom of stem wall (8" wall application)

- All forms must be properly lubricated, before setting, with no lubricant ponding on footing.

- Forms must be braced properly and sufficiently as to prevent movement during pour.

- Elevation drops on top of walls to be placed per architectural prints unless otherwise specified.

- When full porch walls or bulkheads are installed, contractor is to install a 1 ½"x 12" sleeve at the base of the foundation wall to allow drain tile contractor to install drain tile.

- Opening(s) for doors, welled exits, and window openings should be plumb. Foundation contractor to place (2) 2x4 treated wood in forms to provide wood bucks, dimension per MCH specifications and details. Confirm expectations for recessing large format glass doors if applicable.

- Garage walls must be set to proper framing dimensions (openings and piers for overhead garage door is critical.) Notch is to be made in garage door opening on the inside to allow for door track (minimum 2x8 notch) if necessary

- Contractor must acquire all necessary inspections prior to pouring of foundation walls. This may include municipality inspections and /or third-party private inspections. It is the contractor’s responsibility to confirm the inspection has been successfully completed prior to confirming concrete delivery.

- Once pouring of concrete begins, it must continue until entire pour is completed.

- Discharge of concrete from chute to placement must not exceed 40" at any time.

- Concrete pour to be continuous - no cold joints.  Any honeycombing shall be repaired or replaced at the expense of the Contractor.

- Contractor must trowel the tops of all poured foundation walls leaving a smooth and level surface.

- When finished, all forms are to be stripped and all ties (inside & outside) are to be knocked off as soon as concrete has set up sufficiently (24 hours in warm weather). Forms shall be removed from site and trash shall be placed in a dumpster.

- The maximum accepted deviations for foundation walls are as follows:

  - Walls shall be poured to plan specifications and are to be plumb plus or minus ¼".

  - Top of walls to be level plus or minus ¼".

  - Wall dimension to be within ¼".

  - Walls to be square within ½".

- All "honeycombing" or cold joints must be repaired by contractor. All honeycombing and cold Joints shall be repaired or replaced at the expense of the Contractor.  Determination of the necessity for repair or replacement will be at the sole discretion of the MCH Director of Construction. The only acceptable method is applying hydraulic type patching cement at affected areas. Contractor is responsible for future leaks at these locations.

- If any part of work is found to be incomplete, incorrect, deficient, or cause damage to other work, Contractor will be responsible for all costs damage incurred.

- After forms have been removed from lot, all foundation walls and grade beams should be cleaned free of dirt.

- When work is complete and Project Manager is available, the foundation foreman and Project Manager will inspect the work together to check off and sign the attached checklist. Any problems noted must be corrected before payment.

H. Winter Construction

- It is the responsibility of the contractor to proactively protect their work and this includes but is not limited to following appropriate cold weather procedures. When weather conditions dictate, contractor is expected to take precautionary measures to protect concrete work against damage (from freezing temperatures, hail, sleet, rain, etc.) by using blankets, poly, straw, calcium, or other appropriate protective measures.

- If necessary, contractor will protect ground prior to placing of concrete to prevent ground from freezing. Contractor will supply labor and materials at additional expense (i.e. straw, etc.) Black poly will be used when covering concrete. At no point should contractor pour concrete over frozen ground. Contractor will strip straw and poly and dispose of them in the nearest dumpster

- If requested, forms are to be left on walls for sufficient time as to allow wall to cure.

- Concrete in locations that may be subject to freezing & thawing during construction shall be air-entrained concrete. Total air content (percent by volume of concrete) shall not be less than 5% or more then 7%.

- Any concrete weakened by weather conditions will be removed and re-poured by contractor at his expense. The necessity to repair or replace potentially compromised concrete will be determined at the sole discretion of the MCH Director of Construction.

- When weather conditions dictate, Calcium should be used. Calcium additive shall never exceed 2% by volume. Calcium should be ordered with mix for proper percentage mix and never added on jobsite.

- When steel is used in concrete, the contractor will use a non-chloride accelerator in concrete.

- Concrete should not be poured unless the temperature is 28° and rising or if mix is designed for cold weather and approved by MCH Director of Construction.

I.Clean-Up & Damage

- Contractor must remove dirt or mud left on streets adjacent to the site as a result of his work on a daily basis. Any disturbed silt fence (removed, knocked down, ran over) is the contractor’s responsibility to replace /repair at their expense.

- At the completion of the pour, the contractor will direct concrete truck(s) to the designated washout area on jobsite. At no time will any concrete truck washout in any other location.

- Contractor must remove any excess concrete pours and/or any incidental trash resulting from his work.

- Contractor must clean up mud/debris from footing surface and foundation wall as a result of his work. The street is expected to be broom swept and the lot should be rough graded to +/- 1” of expected final grade.

- The contractor shall be responsible for all damages to street, curbs, site, and adjacent properties incurred as a result of contractor negligence during grade beam and/or foundation forming or concrete delivery or placement. The contractor shall be responsible for any future charges resulting from the repair/replacement of those items.

J. Responsibilities

MCH Responsibilities

- To supply the most timely and accurate information possible.

- To provide regular supervision and direction from the MCH Project Manager.

- To provide the following plans / drawings / information:

  - Selection Sheet / Change Orders

  - Architectural Plans / Details

  - Foundation Specifications

  - Site Plan

  - Hold Down Plans

- Provide an adequate construction access and curb protection.

- Notify contractor immediately of any dimensional or tolerance discrepancies discovered.

Foundation Contractor's Responsibilities

- To act in every way possible in an effort to protect and preserve their own work, work that has already been completed, the property and adjacent properties.

- To comply with all OSHA regulations and requirements.

- To check accuracy of plans, selections, and redlines with MCH Project Manager before proceeding and to conform completely to all labor and materials specifications.

- Contractor is expected to meet MCH’s construction schedule as provided.

- To complete and sign the Grade Beams & Foundations Checklist upon job completion, and submit attached to invoice with MCH Project Manager's signature

- Winter construction - provide calcium, polyethylene, and labor to straw for freeze protection.

- To confirm locations of hold downs needed per hold down plans.To provide a generator for electricity if necessary and not available on site. Using electric from adjacent properties is never an acceptable option.

- To provide water source as necessary. Using water from adjacent properties is never an acceptable option.

- Contractor will respond and attempt to resolve customer service work, including Punch List items, within 24 hours from date of request and if necessary will attend to customer work before attending to new production work. Notice with explanation must be provided to MCH immediately if contractor cannot resolve service issues within 24 hours due to mobilization, weather, equipment failure, or other extenuating circumstances.

Company:      _______________________________                       Dustin Burkett

Signature:      _______________________________                       Director of Construction

Print Name:   _______________________________                       302.217.2577

Review Date: _______________________________                       dustin@marniehomes.com

Effective Date: 11/17/2023